## Slide 1: Determination of the DC/LF Efield & S/C potential ‐ lessons learned from Cluster & MMS
Yuri Khotyaintsev
IRF-U

## Slide 2: Things we need
Calibration->cross-calibration, what are plans for cross-cal?
SC-Pot
  Electron spectra at low energies for determination of true SC-Potential
DC-E
  B, Ion moments for gain and offset determination
  Electron moments for context (Debye length, etc)
AC-E
  SCM data for phase/gain calibration

## Slide 7
E DSL
Solar Wind
Ez (E56)

## Slide 8: E34 perp to the Sun, small Debye length

## Slide 9: 13 June 2015 – MMS1
Cross spectral analysis between E and B fields
Waveform and cross-spectrum show that the angles between Ex and Bx, and Ey and By are approx. 180o instead of 90o.
Possible time offset between E and B?
Comm. EDP and SCM data, 128 Hz.

## Slide 10: 13 June 2015 (offset 2)
Now try offset in E of -2/128 s (2 grid points).
Best agreement between E and B fields is found for this offset: -1/64 s in E.
Cross-spectrum angles and waveform are consistent with field-aligned whistlers.

## Slide 11: MVA analysis - B0 in spin plane
λmax/λint = 1.05
λint/λmin = 24.6
λmax/λint = 3.03
λint/λmin = 10.3
θBB0 = 6 deg.
θEB0 = 4 deg.
θEB = 2 deg.