## Slide 1: MMS measurements of DC E-fields in the solar wind
Yuri Khotyaintsev
IRF-U

## Slide 2
SDP
SDP
SDP
SDP
ADP longest ever: 31.5m!
MMS Improvements:
3D electric fields
SDPs 120m tip-to-tip
Notes: 2
Higher data rates
ADP – longest ever
FGM part of FIELDS
EDI – new energy – 250 keV (compared to Cluster)

## Slide 3
E DSL
Solar Wind
Ez (E56)

## Slide 4: E34 perp to the Sun, small Debye length

## Slide 5: The waves
Circular polarized whistlers in the quasi-parallel foreshock.
Frequency Hz.
Seen in , and .

## Slide 6: The waves
Circular polarized whistlers in the quasi-parallel foreshock.
Frequency Hz.
Seen in , and .

## Slide 7: Results
Fluctuating, transverse part of .

## Slide 8: and
and are in phase
Indicates wake effects?

## Slide 9: V cross B
Electrons are frozen-in:
Different amplitude and phase-shift for .

## Slide 10: Summary
Axial boom can provide excellent E-field measurement in some cases
In other cases, the measurement is not so good.